## Sheet1
Product ID | Product Name | Product Description | Manufacture Product URL | Product-Name-Slug | Cost Range (Good, Better, Best) | Image Filename | Manufacture ID | Category 1 | Category 2 (LED) | Category 3 (Quick Ship) | Category 4 (DLC Qualified) | Category 5 (Award Winning) | Status (1,0)
4407 | Safelite-Surface | Darkroom Safelites are task lighting fixtures required wherever photographic or X-ray film processing is performed. Filters must be selected to meet the requirements of the particular type of film that will be exposed to the light. | http://www.colelighting.com/product/29/ | cole-lighting-safelite-surface |  | safelitesurface-large.jpg | 21 | 2 |  |  |  |  | 1
4408 | CH160-Pendants | These Romanesque or Gothic-inspired hexagonal fixtures are available in several mounting configurations to allow a consistent design theme as various illumination needs are addressed. | http://www.colelighting.com/product/18/ | cole-lighting-ch160-pendants |  | ch160_l.jpg | 21 | 7 |  |  |  |  | 1
4409 | SC160-Surface Ceiling | These Romanesque or Gothic-inspired hexagonal fixtures are available in several mounting configurations to allow a consistent design theme as various illumination needs are addressed. The fluorescent source meets efficiency requirements, and alternate illumination levels can be met with split circuitry or dimming in most models. | http://www.colelighting.com/product/17/ | cole-lighting-sc160-surface-ceiling |  | 160_l.jpg | 21 | 2 |  |  |  |  | 1
4410 | WB160-Wall Brackets | These Romanesque or Gothic-inspired hexagonal fixtures are available in several mounting configurations to allow a consistent design theme as various illumination needs are addressed. The fluorescent source meets efficiency requirements, and alternate illumination levels can be met with split circuitry or dimming in most models. | http://www.colelighting.com/product/19/ | cole-lighting-wb160-wall-brackets |  | WB160_l.jpg | 21 | 11 |  |  |  |  | 1
4411 | CH170-Pendants | These simple cylindrical fixtures provide an even luminous surface highlighted by vertical wood accent elements. Steel channels may be substituted for the wood, or the accents can be deleted. Pendant, wall, and surface ceiling mounted versions are offered. | http://www.colelighting.com/product/20/ | cole-lighting-ch170-pendants |  | CH170_l.jpg | 21 | 7 |  |  |  |  | 1
4412 | SC170-Surface Ceiling | These simple cylindrical fixtures provide an even luminous surface highlighted by vertical wood accent elements. Steel channels may be substituted for the wood, or the accents can be deleted. Pendant, wall, and surface ceiling mounted versions are offered. | http://www.colelighting.com/product/21/ | cole-lighting-sc170-surface-ceiling |  | SC170_l.jpg | 21 | 2 |  |  |  |  | 1
4413 | WB170-Wall Brackets | These simple cylindrical fixtures provide an even luminous surface highlighted by vertical wood accent elements. Steel channels may be substituted for the wood, or the accents can be deleted. Pendant, wall, and surface ceiling mounted versions are offered. | http://www.colelighting.com/product/22/ | cole-lighting-wb170-wall-brackets |  | WB170_l.jpg | 21 | 11 |  |  |  |  | 1
4414 | CH180-Pendants | These cylindrical fixtures provide an even luminous surface with top and bottom banding, with or without vertical wood accent elements. Steel channels may be substituted for the wood, or the accents can be deleted. Pendant, wall, and surface ceiling mounted versions are offered. | http://www.colelighting.com/product/23/ | cole-lighting-ch180-pendants |  | CH180_l.jpg | 21 | 7 |  |  |  |  | 1
4415 | SC180-Surface Ceiling | These cylindrical fixtures provide an even luminous surface with top and bottom banding, with or without vertical wood accent elements. Steel channels may be substituted for the wood, or the accents can be deleted. Pendant, wall, and surface ceiling mounted versions are offered. | http://www.colelighting.com/product/24/ | cole-lighting-sc180-surface-ceiling |  | SC180_l.jpg | 21 | 2 |  |  |  |  | 1
4416 | WB180-Wall Brackets | These cylindrical fixtures provide an even luminous surface with top and bottom banding, with or without vertical wood accent elements. Steel channels may be substituted for the wood, or the accents can be deleted. Pendant, wall, and surface ceiling mounted versions are offered. | http://www.colelighting.com/product/25/ | cole-lighting-wb180-wall-brackets |  | WB180_l.jpg | 21 | 11 |  |  |  |  | 1
4417 | Sq.Dry Ceiling | These square Downlites for dry ceiling installations are offered in two sizes. LED, metal halide, fluorescent, or incandescent lamp options are available along with a variety of trims. | http://www.colelighting.com/product/30/ | cole-lighting-sq.dry-ceiling |  | SqDry-w.trim.jpg | 21 | 4 | 12 |  |  |  | 1
4418 | Sq.Concrete Mount | These square Downlites for poured concrete installations are offered in two sizes. LED, metal halide, fluorescent, or incandescent lamp options and a variety of trims. | http://www.colelighting.com/product/32/ | cole-lighting-sq.concrete-mount |  | SqCon-w.trim.jpg | 21 | 4 | 12 |  |  |  | 1
4419 | Rd.Dry Ceiling | These round Downlites for dry ceiling installations are offered in two sizes. LED, metal halide, fluorescent, or incandescent lamp options are available along with a variety of trims. | http://www.colelighting.com/product/31/ | cole-lighting-rd.dry-ceiling |  | RdDry-w.trim.jpg | 21 | 4 | 12 |  |  |  | 1
4420 | Rd.Concrete Mount | These round Downlites for poured concrete installations are offered in two sizes. LED, metal halide, fluorescent, or incandescent lamp options and a variety of trims. | http://www.colelighting.com/product/33/ | cole-lighting-rd.concrete-mount |  | RdCon-w.trim.jpg | 21 | 4 | 12 |  |  |  | 1
4421 | D180 | Cole offers Downlites that provide efficient illumination. The fine satin or polished metal finishes add a premium quality appearance and the frosted diffuser provides smooth illumination. | http://www.colelighting.com/product/34/ | cole-lighting-d180 |  | D180-w.trims.jpg | 21 | 4 | 12 |  |  |  | 1
4422 | G1999 | The G1999 is an oversize exit for use in convention centers, fairgrounds, parking structures, and other areas where the points of egress must be identified from a great distance. | http://www.colelighting.com/product/7/ | cole-lighting-g1999 |  | G1999_l.jpg | 21 | 11 |  |  |  |  | 1
4423 | Aluminex Exits | The Aluminex exit signs offer a stylish design suitable for a wide variety of applications. The aluminum construction is both visually pleasing and possesses corrosion-resistant qualities. | http://www.colelighting.com/product/47/ | cole-lighting-aluminex-exits |  | Aluminex_l.jpg | 21 | 2 | 12 |  |  |  | 1
4424 | Aluminex Exits | The Aluminex exit signs offer a stylish design suitable for a wide variety of applications. The aluminum construction is both visually pleasing and possesses corrosion-resistant qualities. | http://www.colelighting.com/product/47/ | cole-lighting-aluminex-exits |  | Aluminex_l.jpg | 21 | 11 | 12 |  |  |  | 1
4425 | Aluminex Exits | The Aluminex exit signs offer a stylish design suitable for a wide variety of applications. The aluminum construction is both visually pleasing and possesses corrosion-resistant qualities. | http://www.colelighting.com/product/47/ | cole-lighting-aluminex-exits |  | Aluminex_l.jpg | 21 | 20 | 23 |  |  |  | 1
4426 | Aluminex Exits | The Aluminex exit signs offer a stylish design suitable for a wide variety of applications. The aluminum construction is both visually pleasing and possesses corrosion-resistant qualities. | http://www.colelighting.com/product/47/ | cole-lighting-aluminex-exits |  | Aluminex_l.jpg | 21 | 18 | 23 |  |  |  | 1
4427 | Brutus Exits | The Brutus exit signs are designed primarily for interior or exterior locations where abuse is anticipated. Every feature is designed to resist physical damage and ensure that the sign remains attractive and functional with minimal maintenance requirements. | http://www.colelighting.com/product/49/ | cole-lighting-brutus-exits |  | Brutus_l.jpg | 21 | 2 | 12 |  |  |  | 1
4428 | Brutus Exits | The Brutus exit signs are designed primarily for interior or exterior locations where abuse is anticipated. Every feature is designed to resist physical damage and ensure that the sign remains attractive and functional with minimal maintenance requirements. | http://www.colelighting.com/product/49/ | cole-lighting-brutus-exits |  | Brutus_l.jpg | 21 | 11 | 12 |  |  |  | 1
4429 | Brutus Exits | The Brutus exit signs are designed primarily for interior or exterior locations where abuse is anticipated. Every feature is designed to resist physical damage and ensure that the sign remains attractive and functional with minimal maintenance requirements. | http://www.colelighting.com/product/49/ | cole-lighting-brutus-exits |  | Brutus_l.jpg | 21 | 20 | 23 |  |  |  | 1
4430 | Brutus Exits | The Brutus exit signs are designed primarily for interior or exterior locations where abuse is anticipated. Every feature is designed to resist physical damage and ensure that the sign remains attractive and functional with minimal maintenance requirements. | http://www.colelighting.com/product/49/ | cole-lighting-brutus-exits |  | Brutus_l.jpg | 21 | 18 | 23 |  |  |  | 1
4431 | Krystal Exits | The Krystal exit signs offers a stylish design suitable for a variety of applications. The aluminum construction is both visually pleasing and possesses corrosion-resistant qualities. The construction is designed so the sign will remain attractive and functional with minimal maintenance requirements. | http://www.colelighting.com/product/50/ | cole-lighting-krystal-exits |  | Krystal_l.jpg | 21 | 2 | 12 |  |  |  | 1
4432 | Krystal Exits | The Krystal exit signs offers a stylish design suitable for a variety of applications. The aluminum construction is both visually pleasing and possesses corrosion-resistant qualities. The construction is designed so the sign will remain attractive and functional with minimal maintenance requirements. | http://www.colelighting.com/product/50/ | cole-lighting-krystal-exits |  | Krystal_l.jpg | 21 | 11 | 12 |  |  |  | 1
4433 | Krystal Exits | The Krystal exit signs offers a stylish design suitable for a variety of applications. The aluminum construction is both visually pleasing and possesses corrosion-resistant qualities. The construction is designed so the sign will remain attractive and functional with minimal maintenance requirements. | http://www.colelighting.com/product/50/ | cole-lighting-krystal-exits |  | Krystal_l.jpg | 21 | 20 | 23 |  |  |  | 1
4434 | Krystal Exits | The Krystal exit signs offers a stylish design suitable for a variety of applications. The aluminum construction is both visually pleasing and possesses corrosion-resistant qualities. The construction is designed so the sign will remain attractive and functional with minimal maintenance requirements. | http://www.colelighting.com/product/50/ | cole-lighting-krystal-exits |  | Krystal_l.jpg | 21 | 18 | 23 |  |  |  | 1
4435 | Slicker Exits | The Slicker exit signs are designed primarily for interior or exterior locations where corrosion resistance is critical. The finish may also be appropriate where the natural look of satin finished stainless steel is desired. The construction is designed so the sign will remain attractive and functional with minimal maintenance requirements. | http://www.colelighting.com/product/48/ | cole-lighting-slicker-exits |  | Slicker_l.jpg | 21 | 2 | 12 |  |  |  | 1
4436 | Slicker Exits | The Slicker exit signs are designed primarily for interior or exterior locations where corrosion resistance is critical. The finish may also be appropriate where the natural look of satin finished stainless steel is desired. The construction is designed so the sign will remain attractive and functional with minimal maintenance requirements. | http://www.colelighting.com/product/48/ | cole-lighting-slicker-exits |  | Slicker_l.jpg | 21 | 11 | 12 |  |  |  | 1
4437 | Slicker Exits | The Slicker exit signs are designed primarily for interior or exterior locations where corrosion resistance is critical. The finish may also be appropriate where the natural look of satin finished stainless steel is desired. The construction is designed so the sign will remain attractive and functional with minimal maintenance requirements. | http://www.colelighting.com/product/48/ | cole-lighting-slicker-exits |  | Slicker_l.jpg | 21 | 20 | 23 |  |  |  | 1
4438 | Slicker Exits | The Slicker exit signs are designed primarily for interior or exterior locations where corrosion resistance is critical. The finish may also be appropriate where the natural look of satin finished stainless steel is desired. The construction is designed so the sign will remain attractive and functional with minimal maintenance requirements. | http://www.colelighting.com/product/48/ | cole-lighting-slicker-exits |  | Slicker_l.jpg | 21 | 18 | 23 |  |  |  | 1
4439 | Traditional Exits | The KCL-612-A2 is a traditional edgelighted exit sign that offers a design compatible with historic architectural themes. | http://www.colelighting.com/product/247/ | cole-lighting-traditional-exits |  | Traditional-Exit.jpg | 21 | 2 | 12 |  |  |  | 1
4440 | Traditional Exits | The KCL-612-A2 is a traditional edgelighted exit sign that offers a design compatible with historic architectural themes. | http://www.colelighting.com/product/247/ | cole-lighting-traditional-exits |  | Traditional-Exit.jpg | 21 | 11 | 12 |  |  |  | 1
4441 | S130 | The 130 Series of Directional Signs feature a sleek design combined with size flexibility which allows the sign proportions to fit the copy requirements. The rugged construction, engineering excellence, and quality make these fixtures ideal for specification in most public areas. | http://www.colelighting.com/product/53/ | cole-lighting-s130 |  | S130_l.jpg | 21 | 2 |  |  |  |  | 1
4442 | S130 | The 130 Series of Directional Signs feature a sleek design combined with size flexibility which allows the sign proportions to fit the copy requirements. The rugged construction, engineering excellence, and quality make these fixtures ideal for specification in most public areas. | http://www.colelighting.com/product/53/ | cole-lighting-s130 |  | S130_l.jpg | 21 | 11 |  |  |  |  | 1
4443 | S190 | The S190 Series of signs offer clean styling in an exit sign size. The extruded aluminum housings feature a black polyester finish with copy on white snap-in panels. The wider S190 Series is available with incandescent, fluorescent, or LED. | http://www.colelighting.com/product/54/ | cole-lighting-s190 |  | S190.jpg | 21 | 2 | 12 |  |  |  | 1
4444 | S191 | The S190 Series of signs offer clean styling in an exit sign size. The extruded aluminum trim features a black polyester finish with copy on white snap-in panels. Available in incandescent, fluorescent, or LED lamps. | http://www.colelighting.com/product/241/ | cole-lighting-s191 |  | S191.jpg | 21 | 11 | 12 |  |  |  | 1
4445 | S290 | The S290 Series of signs offer clean styling in an exit sign size. The extruded aluminum housings feature a black polyester finish with copy on white snap-in panels. Several options are available, and the sign may be specified for wet location mounting. | http://www.colelighting.com/product/240/ | cole-lighting-s290 |  | S290.jpg | 21 | 2 | 12 |  |  |  | 1
4446 | S251 | Fixture is constructed of 20 gauge steel with a bronze polyester coating. Red and green glass lenses are glazed with silicone sealant. Sun shield is integral with faceplate. | http://www.colelighting.com/product/56/ | cole-lighting-s251 |  | S251.jpg | 21 | 2 | 12 |  |  |  | 1
4447 | S251 | Fixture is constructed of 20 gauge steel with a bronze polyester coating. Red and green glass lenses are glazed with silicone sealant. Sun shield is integral with faceplate. | http://www.colelighting.com/product/56/ | cole-lighting-s251 |  | S251.jpg | 21 | 11 | 12 |  |  |  | 1
4448 | S252 | The compact S252 Series of signs provide a less obtrusive presence where smaller copy is acceptable. It is available with incandescent, fluorescent, or LED lamps with several options. | http://www.colelighting.com/product/242/ | cole-lighting-s252 |  | S252.jpg | 21 | 11 | 12 |  |  |  | 1
4449 | S350, S351, S355 | Fixture is constructed of extruded aluminum with a black polyester coating. Sign panel is .125" tempered glass. Metal sunscreen is integral with faceplate. | http://www.colelighting.com/product/57/ | cole-lighting-s350-s351-s355 |  | S350_l.jpg | 21 | 2 | 12 |  |  |  | 1
4450 | S350, S351, S355 | Fixture is constructed of extruded aluminum with a black polyester coating. Sign panel is .125" tempered glass. Metal sunscreen is integral with faceplate. | http://www.colelighting.com/product/57/ | cole-lighting-s350-s351-s355 |  | S350_l.jpg | 21 | 11 | 12 |  |  |  | 1
4451 | S2153, S2156 | S2153 and S2156 housing are constructed from die-formed 16 gauge steel. Housings are finished with a white polyester coating. Faceplate is cast aluminum with metallic aluminum polyester coating, gasketed and retained by stainless steel screws. Diffuser is .125" white acrylic set in silicone sealant. | http://www.colelighting.com/product/55/ | cole-lighting-s2153-s2156 |  | S2153_l.jpg | 21 | 18 |  |  |  |  | 1
4452 | LR5 | LR5 Lightrail Series is a complete illuminated handrail system, ideal for indoor or outdoor applications such as stairs, ramps, and walkways. The round design provides symmetrical or asymmetrical illumination with dimensions that conform to ADA requirements. | http://www.colelighting.com/product/39/ | cole-lighting-lr5 |  | LR5-apps.jpg | 21 | 19 | 23 |  |  |  | 1
4453 | LR6 | LR6 Lightrail Series is a complete illuminated handrail system, ideal for indoor or outdoor applications such as stairs, ramps, and walkways. The square design provides symmetrical or asymmetrical illumination with dimensions that conform to ADA requirements. | http://www.colelighting.com/product/232/ | cole-lighting-lr6 |  | LR6-apps2.jpg | 21 | 19 | 23 |  |  |  | 1
4454 | LR1 | LR1 Series Lightrail is a flexible system of wall or post mounted illuminated handrails. This asymmetrical design projects illumination to one side along walkways and stairways. Companion non-illuminated Lightrail is also available. | http://www.colelighting.com/product/35/ | cole-lighting-lr1 |  | LR1end-large.jpg | 21 | 19 |  |  |  |  | 1
4455 | LR3 | LR3 Series Lightrail is a flexible system of wall or post mounted illuminated handrails. The symmetrical design projects equal illumination to both sides. With its simple round extrusion, LR 3 Series can be configured to suit most applications. | http://www.colelighting.com/product/37/ | cole-lighting-lr3 |  | LR3end-large.jpg | 21 | 19 |  |  |  |  | 1
4456 | LR4 | LR4 Series Lightrail is a flexible system of wall or post mounted illuminated handrails with a curved top design. It projects illumination equally to both sides. | http://www.colelighting.com/product/38/ | cole-lighting-lr4 |  | Lr4end-large.jpg | 21 | 19 |  |  |  |  | 1